A new, simple method for fabricating high performance sub-mm focal plane arrays by direct machining using shaped drill bits

J. Leech1*, B.K. Tan 1, G. Yassin1, P. Kittara2, A. Jiralucksanawong2, S. Wangsuya2

1 Department of Physics, University of Oxford, Keble Road, Oxford  OX1 3RH, UK

2 Department of Physics, Mahidol University, 272 Rama VI Road, Bangkok, Thailand

* Contact:  jxl@astro.ox.ac.uk, phone +44 (0)1865 273299

Abstract—Large focal-plane arrays consisting of tens, hundreds or thousands of elements will dominate for the next generation of sub-mm mapping instruments. While "CCD-style" filled-aperture bolometer arrays, such as SCUBA-2, are suitable for some mapping applications, heterodyne receivers and focal plane arrays for sub-mm CMB mapping, such as HARP-B and CLOVER continue to consist of close packed arrays of feedhorns. Such feedhorn arrays are popular since they offer the high aperture efficiencies, low sidelobes, low stray light sensitivities and the low-cross polarisations required for many astronomical applications. Fabricating large numbers of high quality feeds at a low cost is becoming increasingly problematic, and the cost of horn array fabrication is rapidly becoming a large fraction of the total instrument cost.

In previous work, we have described novel, multi-flare-angled smooth-walled horns designed using a genetic algorithm[1]. These horns have one or two flare-angle discontinuities and promise to be much easier to machine than corrugated horns at sub-mm wavelengths and yet offer similar radiation patterns. We have previously measured very good beam patterns for electroformed prototype horns with two flare-angle discontinuities across a 17% bandwidth at 230 GHz. The achieved bandwidth is dependent on the number of flare-angle discontinuities and we are currently optimising designs which are expected to give bandwidths comparable to those of a corrugated horn.

In this paper, we describe our fabrication of these horns by direct machining into a block of aluminium using shaped drill bits. This is a new fabrication technique and is very rapid compared to the electroforming or direct machining of many corrugated horns. We examine the machining tolerances required to achieve good performance and present the measured beam patterns for a variety of prototypes. We describe a prototype 4x4 horn array which we have constructed, and present the results of experimental tests. Finally, we assess the promise of extending this fabrication technique to 700 GHz and then into the THz frequency range.

[1]  Kittara P., Jiralucksanawong,  A., Wangsuya S.,  Leech J.,Yassin, G.,  2007 “The Design of Potter Horns for THz Applications Using a Genetic Algorithm” International Journal of Infrared and Millimeter Waves (2007) 28: pp.1103-1114.