230 GHz sideband-separating mixer array

D. Maier1*

1 Institut de RadioAstronomie Millimétrique, St. Martin d’Hères, France

* Contact:  maier@iram.fr, phone +33 4 76 82 49 16

Abstract—The HEterodyne Receiver Array (HERA) installed at IRAM’s 30m telescope in Spain consists of two arrays with 3x3 pixels for two orthogonal polarizations. The receiver is equipped with SSB backshort mixers covering an RF frequency range from 214 to 272 GHz with an IF band of 3.5 to 4.5 GHz.

Now we are working on a new mixer array for a future multi-beam receiver for the 30m telescope. We will employ sideband-separating mixers covering an RF frequency range from 200 to 270 GHz with an IF band from 4 to 12 GHz. The RF quadrature couplers as well as the LO couplers will be realized as branchguide couplers and be integrated with the mixer blocks into one E-plane split-block. The DSB mixers will use Nb junction technology and the IF couplers will be custom made for the use at cryogenic temperatures. We will present the concept of the new array as well as the designs of the DSB mixers and the different couplers.