In situ Quantitative THz Gas Analysis

Pearson*, J.C., Drouin, B.J, Cooper K, and Stachnik, R.

Jet Propulsion Laboratory, California Institute of Technology, Mail Stop 301-429, 4800 Oak Grove Dr., Pasadena CA 91109

* Contact:  John.C.Pearson@jpl.nasa.gov, phone 818-354-6822

Abstract—The rotational spectrum of gas phase molecules offers the potential to be an extremely powerful tool for analytical chemistry.  Every polar molecule features a unique rotational spectrum with a band origin at DC.  The resolution of phase locked microwave techniques can easily be 1 part in 1010 while the Doppler limited line widths are one part in 106.  In the absence of significant optical depth the intensities of Doppler limited lines are linearly proportional to the total column. In the in situ application a microwave source illuminates the gas and power as a function of frequency is measured allowing the narrow lines to be detected even when there is significant source structure.  The illuminating source can easily have a brightness temperature >1014K allowing for extremely weak features to be detected.  The result is that rotational techniques can provide extremely sensitive chemical identification and have the potential for very accurate total abundance determination. We present the development and calibration of ambient temperature in situ rotational spectroscopic systems operating between 0.1 and 0.6 THz for planetary science.  Optimization of this type of system requires some rather different considerations than are typical for space based remote sensing instruments.  The system considerations, the calibration and potential applications of in situ spectroscopy will be presented.