THz mixing due to electron heating in two dimensional electron gas

- K. Wang1, R. Ramaswamy1, M. Bell2, A. Sergeev1, G. Strasser1, V. Mitin1 and A. Verevkin1*

1 University at Buffalo, the State University of New York, Buffalot, NY, USA,14260

2 Esensors Inc., 4240 Ridge Lea Road, Amherst, NY, USA, 14226

- * Contact:  verevkin@buffalo.edu, Phone: 1-716-645-3115 ext. 1141

This research is supported by NYSTAR and NSF SBIR

There currently is much interest in terahertz heterodyne mixers. However, in spite of extensive research, available terahertz heterodyne systems and sources are too expensive and bulky for practical use. A heterodyne system, which integrates a micro-scale (nano-scale) hot electron bolometer with a quantum cascade laser (QCL) as the local-oscillator, both operating at moderate cooling level of 77K, has potential to provide fine spectral resolution, low noise, and broad frequency coverage combined with compact design and operation at moderate cooling levels.

We investigate THz mixing based on electron heating of two dimensional electron gas (2DEG) in semiconductor microbolometer structures. The 2DEG microbolometers were fabricated from AlGaAs/GaAs heterostructures and have dimensions of 3~20 m between the Ohmic contacts and 50 m in width. Significant efforts were made to get low Ohmic contact resistance for effective coupling to the THz antenna and the intermediate frequency amplifier. 2DEGs of various levels of disorder are used to reduce the kinetic inductance contribution and to optimize the influence of disorder on electron heating. Steady-state and quasi-optical THz heating measurements provide consistent data and allows us to determine basic parameters, such as electron-phonon relaxation rate, electron heat capacity of 2DEG, and radiation coupling. Mixing at subTHz and THz frequencies were investigated. In the sub-THz range, a W-band Gunn diode operating at 82 GHz was used as a local oscillator. We employed a Quantum Cascade Laser (QCL) as the THz scource. The QCL was positioned in close proximity at different locations to optimize electromagnetic coupling. We also present the data of pumping the 2DEG microbolometer punmping with external THz gas laser. Experiments at sub-THz and THz frequencies provide evidence that electron-heating is the major mechanism of mixing. Mixing experiments allow us to evaluate the mixer gain bandwidth and conversion loss. The results show that a heterodyne receiver, which combines AlGaAs/GaAs 2DEG hot-electron mixer with a QCL as the local oscillator, has great prospects for coherent THz sensing with high spectral resolution and wide spectral bandwidth, and future development of THz phase arrays.