Analysis, Simulation and Design of Cryogenic Systems for ALMA Band 5 Prototype Cartridge

M. Strandberg*, I. Lapkin, V. Belitsky, A. Pavolotsky, and S.-E. Ferm

Group of Advanced Receiver Development (GARD), Chalmers University of Technology, 
SE41296, Gothenburg, Sweden.

* Contact:  magnus.strandberg@chalmers.se, phone +46-31-772 5653

This project is funded by EU FP6, Contract no. 515906

Abstract— The ALMA receiver is designed for ten separate receivers covering 30-960 GHz range in 10 frequency bands; the receiver accommodates these receiver channels as pluggable, fully electrically autonomous inserts, - cartridges.  Furthermore, these cartridges share the same dewar and the cryogenic cooler.  ALMA Band 5 cartridge is a dual-polarization heterodyne receiver employing 2SB SIS mixers with IF band 4-8 GHz and covers the frequency range 163-211 GHz. The prototype for the ALMA Band 5 cartridge is currently being assembled at Group for Advanced Receiver Development (GARD) facilities in Gothenburg, Sweden with the aim to provide six Band 5 cartridges for ALMA Project.

ALMA Band 5 cartridge is the lowest frequency channel in the ALMA receiver that employs all cold optics and thus has the biggest rim of the mirrors amongst other ALMA bands placed on the 4K cartridge plate.  The size of the optics and its supporting brackets puts severe constrains on the design of the receiver.  Another important issue of the Band 5 cartridge design, as well as other ALMA cartridges, is a very tight thermal budget.

In this report, we present analysis and simulation results for the thermal and mechanical design of the ALMA Band 5 cartridge that has been carried out using different CAD software packages such as CFDesign and ANSYS.  We compare simulation results obtained with these software and the theoretical calculations. Specifically, thermal load at different cartridge temperature stages has been modeled with respect to major heat contributors such as amplifiers, magnetic coils with normal wire used for Band 5, thermal load due to conductivity and electrical power dissipation in DC-wiring, etc.  For the mechanical design, the major focus was on the cartridge deformation with cooling, gravity deformation and simulation of mechanical interfaces with screws under cryogenic temperatures.  Another important issue was to investigate the distribution of stress due to thermal contraction of the cartridge and its internal components.

At the Conference, we plan to present details and comparison of the simulation results using different software packages and design details of the ALMA Band 5 cartridge.